SECTION 11 66 23.13

BASKETBALL EQUIPMENT

PART 1 – GENERAL

- SUMMARY

  - Section Includes

    - Wall Mounted Basketball Equipment.

      - 1300 Series, Stationary, Up to 4' Extension.

      - 1310 Series, Stationary, 4' to 12' Extension.

      - 1400 Series, Fold Up, 4' to 12' Extension.

      - 1500 Series, Side Folding, 4' to 12' Extension.

    - Ceiling Suspended, Up to 32' Attachment, Single Drop Basketball Equipment

      - J817-FFRB, Forward Folding, Rear Braced.

      - J818-WB, Wall Braced, Stationary,.

      - J823-BF, Rear Folding, Rear Braced.

      - J826-NF, Stationary.

      - J849-FFFB, Forward Folding, Front Braced.

      - J850-OSB, Forward Folding, Off Set Mast.

      - J855-SFB, Side Folding, Side Braced.

      - J860-RF, Roll Folding, Rear Braced.

      - J865-OSB, Side Folding, Side Braced, Offset Mast.

    - Ceiling Suspended, 32' - 40' Attachment, Single Drop Basketball Equipment

      - J817-FFRB-BT, Forward Folding, Rear Braced.

      - J818-WB-BT, Wall Braced, Stationary.

      - J823-BF-BT, Rear Folding, Rear Braced.

      - J826-NF-BT, Stationary.

      - J849-FFFB-BT, Forward Folding, Front Braced.

      - J850-OSB-BT, Forward Folding, Off Set Mast.

      - J855-SFB-BT, Side Folding, Side Braced.

      - J865-OSB-BT, Side Folding, Side Braced, Offset Mast.

    - Basketball Backstop Winches

    - TW-700M, TorkWinch Manual Basketball Winch

    - TW-2000, TorkWinch Electric Basketball Winch

    - PL-1000, Posilok Safety Strap

    - Basketball Backstop Backboards

    - GBRUB-42, 42" x 72" Unbreakable Rectangular Glass Backboard

    - GBRUB-54, 42" x 54" Unbreakable Rectangular Glass Backboard

    - GBAFR-48, 48" x 72" Rectangular Glass Backboard

    - GCBB-35, 42" x 72" Rectangular Glass Conversion Backboard

    - ALB-24BT, 36" x 54" Fan Aluminum Backboard

    - RWBB-422, 42" x 72" Rectangular Wood Backboard

    - Basketball Backstop Goals

    - GBA-642, Collegiate "Revolution" Hideaway Goal, 42" Boards

    - GBA-648, Collegiate "Revolution" Hideaway Goal, 48" Boards

    - GBA-542, Collegiate "Shot" Pigtail Goal, 42" Boards

    - GBA-548, Collegiate "Shot" Pigtail Goal, 48" Boards

    - GBA-18042, Competitor 180° Breakaway Goal, 42" Boards

    - GBA-342A, Competitor Scholastic Breakaway Goal, 42" Boards

    - GBSG-50, Super Goal, Fixed Goal

    - Basketball Backstop Height Adjusters

    - AHA-XX, Manual Aluminum Height Adjuster

    - EHA-XX. Electric Aluminum Height Adjuster

    - Basketball Backstop Control System

- KS-13, Key Switch

- GPWSK, Ganged Key Switches

- DRX-1199, Wireless Radio Remote Control

- MEC-99, Master Equipment Controller

- ETEC, Easy Touch Equipment Controller

    - Basketball Backstop Edge Padding

    - MBBP-6, Safe-Pro™ Bolt-On Edge Padding, 72" Wide Backboards

    - MBBP-54, Safe-Pro™ Bolt-On Edge Padding, 54" Wide Backboards

    - GBB-15, 1-1/2" Glue-On Edge Padding

    - GBB-2, 2" Glue-On Edge Padding

  - Related Sections

    - Section 05 00 00, Structural Metal Framing, Metal Joists.

    - Section 09 00 00, Maintenance of Finishes, Wood Flooring, Interior Painting.

    - Section 26 00 00, Electrical, Installing electrical power to operate gymnasium equipment.

- REFERENCES

- ASTM A500 - Standard Specification for Cold-Formed Welded and Seamless Carbon Steel Structural Tubing in Rounds and Shapes.

- ASTM B221 - Standard Specification for Aluminum and Aluminum-Alloy Extruded Bars, Rods, Wire, Profiles, and Tubes.

- SUBMITTALS

- Comply with Section 01 33 00 – Submittal Procedures.

  - Design Data:  Submit manufacturer’s design data, including loads to be transmitted to building structural members with requirements of any additional structure needed.

  - Field Test Reporting:  Submit manufacturer’s certified destructive test reports completed by an accredited independent testing laboratory, indicating compliance with any specified factor or safety.

  - Shop Drawings:  Submit manufacturer’s shop drawings, including elevations, plans, sections, layouts, component locations, dimensions, tolerances, fabrication details, materials, finish, quantities, hardware, fittings, electrical wiring diagrams, additional structure needed details, and method of attachment.

  - Product Data:  Submit manufacturer’s product data, including proposed components, fabrication, finish, and materials.

  - Samples:  Submit manufacturer’s color samples.

  - Basketball Backboard Edge Padding

  - Basketball Backstop Powder Coat

  - Installation, Operation, and Maintenance Instructions:  Submit installation, operation, and maintenance instructions including detailed step-by-step installation, troubleshooting, general operation instructions, and any recommended routine maintenance.

  - Manufacturer's Project References:  Submit manufacturer's list of recently completed projects.  To be included is project name, location, name of architect, and description of equipment installed.

  - Warranty:  Submit manufacturer’s guarantees and warranty information on a system and/or component.

- QUALITY ASSURANCE

- Manufacturer Qualification:  All components to be provided from a single source manufacturer.

- Installer Qualification:  All components to be installed by a trained and qualified installer approved by the manufacturer.

- Welding Certification:  All welding to be completed by a certified welder in accordance to the American Welding Society (AWS), D1.1, “Structural Welding Code – Steel.”

- Regulatory Requirements:  Gymnasium equipment shall conform to the latest rules and regulations:

- National Federation of State High School Associations (NFSHSA)

- International Basketball Federation (FIBA)

- National Collegiate Athletic Association (NCAA)

- National Basketball Association (NBA)

- Women's National Basketball Association (WNBA)

- DELIVERY, STORAGE, AND HANDLING

- Delivery:  Deliver basketball system equipment in original manufacturer’s containers, with all containers grouped together, with labels clearly labeling the manufacturer and contents.  Upon delivery, immediately inspect delivery for any missing containers or damage.  Any damage or defects shall be noted and reported to the Owner’s Representative.

- Storage:  Store containers in a clean, dry indoor location.

- Handling:  Protect materials and finish during handling and installation.

- Replacements:  If necessary, replacements shall be immediately re-ordered, so as to minimize any conflict with the construction schedule.

- WARRANTY

  - Wall mounted basketball structure shall be guaranteed against defects in material and workmanship for a period of ten (10) years.  Other components may be covered by their own extended warranty.

  - Ceiling suspended basketball structure shall be guaranteed against defects in material and workmanship for a period of twenty-five (25) years.  Other components may be covered by their own extended warranty.

PART 2 – PRODUCTS

- MANUFACTURER

- Jaypro Sports, LLC. 976 Hartford Turnpike, Waterford, Connecticut 06385. Toll Free 800-243-0533. Phone 860-447-3001. Fax 800-988-3363. Email info@jaypro.com. Web www.jaypro.com.

<< << << SPECIFY ONE OF THE FOLLOWING TWO PARAGRAPHS REGARDING SUBSTITUTIONS >> >> >>

- Substitutions not permitted.

- Manufactures of equivalent products will be considered in accordance with Section 01 25 13, Product Substitution Procedures.

- WALL MOUNTED BASKETBALL EQUIPMENT

  - 1300, Stationary, Wall Mounted, 2' to 4' Extension.

      - Type:  Stationary, wall mounted, with 2' to 4' extension from wall structure.

      - Frame Structure:  1.90" O.D. heavy duty steel pipe with fully welded steel plates for attachment to wall pads.  Fully welded frame structure eliminated the need for internal bracing.  Welded construction in accordance with American Welding Society (AWS), D1.1 "Structural Welding Code - Steel."

      - Wood Wall Pads:  2" x 8" southern yellow pine with two (2) coats of clear lacquer with chamfered exposed edges.  Wall pads to absorb impacts and prevent damage from occurring to structural wall.

      - Goals:  Mounted directly through the backboard to a direct goal mount which is secured to the 6-5/8" main mast stem.  Direct goal mount eliminates any strain on backboard should any player hang on rim.

      - Finish:  All metal parts, pipes, and fittings to be powder coated.

      - Compliance:  Backstop system meets all NCAA and NFSHSA regulations and requirements.

  - 1310, Stationary, Wall Mounted, 4' to 12' Extension.

      - Type:  Stationary, wall mounted, with 4' to 12' extension from wall structure.

      - Frame Structure:  1.90" O.D. heavy duty steel pipe.  Frame structure to terminate at wall pads with heavy duty fabricated brackets.

      - Wood Wall Pads:  2" x 8" southern yellow pine with two (2) coats of clear lacquer with chamfered exposed edges.  Wall pads to absorb impacts and prevent damage from occurring to structural wall.

      - Bracing:  1.90" O.D. perpendicular bracing connected to main frame with clamp style fittings for maximum rigidity.

      - Support Chain:  Two independent 1/4" zinc plated steel safety chains attached to a wall pad for support and stability.

      - Goals:  Mounted directly through the backboard to a direct goal mount which is secured to the 6-5/8" main mast stem.  Direct goal mount eliminates any strain on backboard should any player hang on rim.

      - Finish:  All metal parts, pipes, and fittings to be powder coated.

      - Compliance:  Backstop system meets all NCAA and NFSHSA regulations and requirements.

  - 1400, Fold-Up, Wall Mounted, 4' to 12' Extension.

      - Type:  Fold-up, wall mounted, with 4' to 12' extension from wall structure.

      - Frame Structure:  1.90" O.D. heavy duty steel pipe.  Frame structure to terminate at wall pads with heavy duty fabricated brackets.

      - Wood Wall Pads:  2" x 8" southern yellow pine with two (2) coats of clear lacquer with chamfered exposed edges.  Wall pads to absorb impacts and prevent damage from occurring to structural wall.

      - Bracing:  1.90" O.D. perpendicular bracing connected to main frame with clamp style fittings for maximum rigidity.

      - Operation:  Unit to fold-up against the wall and out of the way when not in use.

      - Hoist Cable:  1/4" Diameter galvanized aircraft cable with 7000 lbs ultimate break strength.  Directed using maintenance-free swivel pulleys to winch  located away from the center of the unit for maximum fold.

      - Support Chain:  Two independent 1/4" zinc plated steel safety chains attached to a wall pad for support and stability.

      - Goals:  Mounted directly through the backboard to a direct goal mount which is secured to the 6-5/8" main mast stem.  Direct goal mount eliminates any strain on backboard should any player hang on rim.

      - Finish:  All metal parts, pipes, and fittings to be powder coated.

      - Compliance:  Backstop system meets all NCAA and NFSHSA regulations and requirements.

  - 1500, Side Folding, Wall Mounted, 4' to 12' Extension.

      - Type:  Side Folding, wall mounted, with 4' to 12' extension from wall structure.

      - Frame Structure:  1.90" O.D. heavy duty steel pipe.  Frame structure to terminate at wall pads with heavy duty fabricated brackets.

      - Wood Wall Pads:  2" x 8" southern yellow pine with two (2) coats of clear lacquer with chamfered exposed edges.  Wall pads to absorb impacts and prevent damage from occurring to structural wall.

      - Bracing:  1.90" O.D. perpendicular bracing connected to main frame with clamp style fittings for maximum rigidity.

      - Operation:  Unit to fold to one side manually and out of the way when not in use.  Offset fittings on one side allows backstop to fold compactly and flat against the wall.

      - Diagonal Brace:  Telescoping diagonal brace with floor accessible spring loaded pull pin.  Pin shall lock the backstop in the playing and stored position.

      - Support Chain:  Two independent 1/4" zinc plated steel safety chains attached to a wall pad for support and stability.

      - Goals:  Mounted directly through the backboard to a direct goal mount which is secured to the 6-5/8" main mast stem.  Direct goal mount eliminates any strain on backboard should any player hang on rim.

      - Finish:  All metal parts, pipes, and fittings to be powder coated.

      - Compliance:  Backstop system meets all NCAA and NFSHSA regulations and requirements.

- CEILING SUSPENDED BASKETBALL EQUIPMENT, UP TO 32' ATTACHMENT

  - J817-FFRB, Single Drop, Forward Folding, Rear Braced.

      - Type:  Singe drop, forward folding, rear braced with attachment up to 32'.

      - Main Mast Stem:  6-5/8" O.D. 11-gauge structural steel tube.

      - Anti-Sway Braces:  2-3/8" O.D. 10-gauge structural steel tube with precision cut ends for maximum weld area.  Sway braces shall attach to the mast no higher than 36" above the backboard for maximum stability.

      - Auxiliary Braces:  1.90" O.D. 13-gauge steel tube braces for increased stability for attachment elevation exceeding 28'.

      - Mast Header:  5" heavy duty structural c-channel.

      - Mast Construction:  Fully welded construction in accordance with American Welding Society (AWS), D1.1 "Structural Welding Code - Steel."  Bolt-together masts are not acceptable.

      - Rear Brace:  Operates with 2-3/8" O.D. 12-gauge structure steel tube with vertical galvanized slide pipe attached to the main mast stem.

      - Fittings and Support Structure:  Backstop supported from existing structure with capped 3-1/2" O.D. 11-gauge structural steel tube with heavy duty precision formed and/or welded steel support fittings.

      - Swing Hinge Fittings:  Backstop suspended from 3-1/2" O.D. support pipe by 7/8" forged eyebolts with press fit oil-impregnated bronze bearings.  2" of adjustability provided for precise plumbing of backstop during installation.

      - Weight Lock:  Mast centerline offset 2" forward of swing hinge fittings to ensure backstop securely weight locks the unit into the playing position.

      - Hoist Cable:  1/4" Diameter galvanized aircraft cable with 7000 lbs ultimate break strength with cable retractor system.

      - Goals:  Mounted directly through the backboard to a direct goal mount which is secured to the 6-5/8" main mast stem.  Direct goal mount eliminates any strain on backboard should any player hang on rim.

      - Finish:  All metal parts, pipes, and fittings to be powder coated

      - Compliance:  Backstop system meets all NCAA and NFSHSA regulations and requirements.

  - J818-WB, Single Drop, Stationary, Wall Braced.

      - Type:  Singe drop, stationary, wall braced with attachment up to 32'.

      - Main Mast Stem:  6-5/8" O.D. 11-gauge structural steel tube.

      - Anti-Sway Braces:  2-3/8" O.D. 10-gauge structural steel tube with precision cut ends for maximum weld area.  Sway braces shall attach to the mast no higher than 36" above the backboard for maximum stability.

      - Auxiliary Braces:  1.90" O.D. 13-gauge steel tube braces for increased stability for attachment elevation exceeding 28'.

      - Mast Header:  5" heavy duty structural c-channel.

      - Mast Construction:  Fully welded construction in accordance with American Welding Society (AWS), D1.1 "Structural Welding Code - Steel."  Bolt-together masts are not acceptable.

      - Rear Brace:  Supported and fixed in playing position with 2-3/8" O.D. 12-gauge structure steel tube terminating in a hinge fittings mounted to 2" x 8" southern yellow pine wall pads.  Pads finished with two (2) coats of clear lacquer with chamfered exposed edges.

      - Fittings and Support Structure:  Backstop supported from existing structure with capped 3-1/2" O.D. 11-gauge structural steel tube with heavy duty precision formed and/or welded steel support fittings.

      - Swing Hinge Fittings:  Backstop suspended from 3-1/2" O.D. support pipe by 7/8" forged eyebolts with press fit oil-impregnated bronze bearings.  2" of adjustability provided for precise plumbing of backstop during installation.

      - Weight Lock:  Mast centerline offset 2" forward of swing hinge fittings to ensure backstop securely weight locks the unit into the playing position.

      - Goals:  Mounted directly through the backboard to a direct goal mount which is secured to the 6-5/8" main mast stem.  Direct goal mount eliminates any strain on backboard should any player hang on rim.

      - Finish:  All metal parts, pipes, and fittings to be powder coated

      - Compliance:  Backstop system meets all NCAA and NFSHSA regulations and requirements.

  - J823-BF, Single Drop, Rear Folding, Rear Braced.

      - Type:  Singe drop, rear folding, rear braced with attachment up to 32'.

      - Main Mast Stem:  6-5/8" O.D. 11-gauge structural steel tube.

      - Anti-Sway Braces:  2-3/8" O.D. 10-gauge structural steel tube with precision cut ends for maximum weld area.  Sway braces shall attach to the mast no higher than 36" above the backboard for maximum stability.

      - Auxiliary Braces:  1.90" O.D. 13-gauge steel tube braces for increased stability for attachment elevation exceeding 28'.

      - Mast Header:  5" heavy duty structural c-channel.

      - Mast Construction:  Fully welded construction in accordance with American Welding Society (AWS), D1.1 "Structural Welding Code - Steel."  Bolt-together masts are not acceptable.

      - Rear Brace:  Operates with 2-3/8" O.D. 12-gauge structure steel tube with heavy duty folding knuckle joint.

      - Knuckle Joint:  Locks unit into playing position.

      - Fittings and Support Structure:  Backstop supported from existing structure with capped 3-1/2" O.D. 11-gauge structural steel tube with heavy duty precision formed and/or welded steel support fittings.

      - Swing Hinge Fittings:  Backstop suspended from 3-1/2" O.D. support pipe by 7/8" forged eyebolts with press fit oil-impregnated bronze bearings.  2" of adjustability provided for precise plumbing of backstop during installation.

      - Weight Lock:  Mast centerline offset 2" forward of swing hinge fittings to ensure backstop securely weight locks the unit into the playing position.

      - Hoist Cable:  1/4" Diameter galvanized aircraft cable with 7000 lbs ultimate break strength.  Cable disengages knuckle joint, allowing brace to fold.

      - Goals:  Mounted directly through the backboard to a direct goal mount which is secured to the 6-5/8" main mast stem.  Direct goal mount eliminates any strain on backboard should any player hang on rim.

      - Finish:  All metal parts, pipes, and fittings to be powder coated

      - Compliance:  Backstop system meets all NCAA and NFSHSA regulations and requirements.

  - J826-NF, Single Drop, Stationary, Ceiling Braced.

      - Type:  Singe drop, stationary, ceiling braced with attachment up to 32'.

      - Main Mast Stem:  6-5/8" O.D. 11-gauge structural steel tube.

      - Anti-Sway Braces:  2-3/8" O.D. 10-gauge structural steel tube with precision cut ends for maximum weld area.  Sway braces shall attach to the mast no higher than 36" above the backboard for maximum stability.

      - Auxiliary Braces:  1.90" O.D. 13-gauge steel tube braces for increased stability for attachment elevation exceeding 28'.

      - Mast Header:  5" heavy duty structural c-channel.

      - Mast Construction:  Fully welded construction in accordance with American Welding Society (AWS), D1.1 "Structural Welding Code - Steel."  Bolt-together masts are not acceptable.

      - Brace:  Supported and fixed in playing position with 2-3/8" O.D. 12-gauge structure steel tube attached to overhead steel.  Brace can be oriented in front or rear of backstop.

      - Fittings and Support Structure:  Backstop supported from existing structure with capped 3-1/2" O.D. 11-gauge structural steel tube with heavy duty precision formed and/or welded steel support fittings.

      - Swing Hinge Fittings:  Backstop suspended from 3-1/2" O.D. support pipe by 7/8" forged eyebolts with press fit oil-impregnated bronze bearings.  2" of adjustability provided for precise plumbing of backstop during installation.

      - Weight Lock:  Mast centerline offset 2" forward of swing hinge fittings to ensure backstop securely weight locks the unit into the playing position.

      - Goals:  Mounted directly through the backboard to a direct goal mount which is secured to the 6-5/8" main mast stem.  Direct goal mount eliminates any strain on backboard should any player hang on rim.

      - Finish:  All metal parts, pipes, and fittings to be powder coated

      - Compliance:  Backstop system meets all NCAA and NFSHSA regulations and requirements.

  - J849-FFFB, Single Drop, Forward Folding, Front Braced.

      - Type:  Singe drop, forward folding, front braced with attachment up to 32'.

      - Main Mast Stem:  6-5/8" O.D. 11-gauge structural steel tube.

      - Anti-Sway Braces:  2-3/8" O.D. 10-gauge structural steel tube with precision cut ends for maximum weld area.  Sway braces shall attach to the mast no higher than 36" above the backboard for maximum stability.

      - Auxiliary Braces:  1.90" O.D. 13-gauge steel tube braces for increased stability for attachment elevation exceeding 28'.

      - Mast Header:  5" heavy duty structural c-channel.

      - Mast Construction:  Fully welded construction in accordance with American Welding Society (AWS), D1.1 "Structural Welding Code - Steel."  Bolt-together masts are not acceptable.

      - Front Brace:  Operates with 2-3/8" O.D. 12-gauge structure steel tube with heavy duty folding knuckle joint.

      - Knuckle Joint:  Locks unit into playing position.

      - Fittings and Support Structure:  Backstop supported from existing structure with capped 3-1/2" O.D. 11-gauge structural steel tube with heavy duty precision formed and/or welded steel support fittings.

      - Swing Hinge Fittings:  Backstop suspended from 3-1/2" O.D. support pipe by 7/8" forged eyebolts with press fit oil-impregnated bronze bearings.  2" of adjustability provided for precise plumbing of backstop during installation.

      - Weight Lock:  Mast centerline offset 2" forward of swing hinge fittings to ensure backstop securely weight locks the unit into the playing position.

      - Hoist Cable:  1/4" Diameter galvanized aircraft cable with 7000 lbs ultimate break strength.  Cable disengages knuckle joint, allowing brace to fold.

      - Goals:  Mounted directly through the backboard to a direct goal mount which is secured to the 6-5/8" main mast stem.  Direct goal mount eliminates any strain on backboard should any player hang on rim.

      - Finish:  All metal parts, pipes, and fittings to be powder coated

      - Compliance:  Backstop system meets all NCAA and NFSHSA regulations and requirements.

  - J850-OSB, Single Drop, Offset Mast, Forward Folding, Front Braced.

      - Type:  Singe drop, forward folding, front braced with attachment up to 32'.

      - Main Mast Stem:  6-5/8" O.D. 11-gauge structural steel tube.  Mast constructed with 20 degree offset angle and 6' long vertical member for board attachment.

      - Anti-Sway Braces:  2-3/8" O.D. 10-gauge structural steel tube with precision cut ends for maximum weld area.  Sway braces shall attach to the mast no higher than 36" above the backboard for maximum stability.

      - Auxiliary Braces:  1.90" O.D. 13-gauge steel tube braces for increased stability for attachment elevation exceeding 28'.

      - Mast Header:  5" heavy duty structural c-channel.

      - Mast Construction:  Fully welded construction in accordance with American Welding Society (AWS), D1.1 "Structural Welding Code - Steel."  Bolt-together masts are not acceptable.

      - Front Brace:  Operates with 2-3/8" O.D. 12-gauge structure steel tube with heavy duty folding knuckle joint.

      - Knuckle Joint:  Locks unit into playing position.

      - Fittings and Support Structure:  Backstop supported from existing structure with capped 3-1/2" O.D. 11-gauge structural steel tube with heavy duty precision formed and/or welded steel support fittings.

      - Swing Hinge Fittings:  Backstop suspended from 3-1/2" O.D. support pipe by 7/8" forged eyebolts with press fit oil-impregnated bronze bearings.  2" of adjustability provided for precise plumbing of backstop during installation.

      - Weight Lock:  Mast centerline offset 2" forward of swing hinge fittings to ensure backstop securely weight locks the unit into the playing position.

      - Hoist Cable:  1/4" Diameter galvanized aircraft cable with 7000 lbs ultimate break strength.  Cable disengages knuckle joint, allowing brace to fold.

      - Goals:  Mounted directly through the backboard to a direct goal mount which is secured to the 6-5/8" main mast stem.  Direct goal mount eliminates any strain on backboard should any player hang on rim.

      - Finish:  All metal parts, pipes, and fittings to be powder coated

      - Compliance:  Backstop system meets all NCAA and NFSHSA regulations and requirements.

  - J855-SFB, Single Drop, Side Folding, Side Braced.

      - Type:  Singe drop, side folding, side braced with attachment up to 32'.

      - Main Mast Stem:  6-5/8" O.D. 11-gauge structural steel tube.

      - Anti-Sway Braces:  2-3/8" O.D. 10-gauge structural steel tube with precision cut ends for maximum weld area.  Sway braces shall attach to the mast no higher than 36" above the backboard for maximum stability.

      - Auxiliary Braces:  1.90" O.D. 13-gauge steel tube braces for increased stability for attachment elevation exceeding 28'.

      - Mast Header:  5" heavy duty structural c-channel.

      - Mast Construction:  Fully welded construction in accordance with American Welding Society (AWS), D1.1 "Structural Welding Code - Steel."  Bolt-together masts are not acceptable.

      - Side Brace:  Operates with 2-3/8" O.D. 12-gauge structure steel tube with heavy duty folding knuckle joint.

      - Knuckle Joint:  Locks unit into playing position.

      - Fittings and Support Structure:  Backstop supported from existing structure with capped 3-1/2" O.D. 11-gauge structural steel tube with heavy duty precision formed and/or welded steel support fittings.

      - Swing Hinge Fittings:  Backstop suspended from 3-1/2" O.D. support pipe by 7/8" forged eyebolts with press fit oil-impregnated bronze bearings.  2" of adjustability provided for precise plumbing of backstop during installation.

      - Weight Lock:  Mast centerline offset 2" forward of swing hinge fittings to ensure backstop securely weight locks the unit into the playing position.

      - Hoist Cable:  1/4" Diameter galvanized aircraft cable with 7000 lbs ultimate break strength.  Cable disengages knuckle joint, allowing brace to fold.

      - Goals:  Mounted directly through the backboard to a direct goal mount which is secured to the 6-5/8" main mast stem.  Direct goal mount eliminates any strain on backboard should any player hang on rim.

      - Finish:  All metal parts, pipes, and fittings to be powder coated

      - Compliance:  Backstop system meets all NCAA and NFSHSA regulations and requirements.

  - J860-RF, Single Drop, Roll Folding, Rear Braced.

      - Type:  Singe drop, roll folding, rear braced with attachment up to 32'.

      - Main Mast Stem:  6-5/8" O.D. 11-gauge structural steel tube.

      - Anti-Sway Braces:  2-3/8" O.D. 10-gauge structural steel tube with precision cut ends for maximum weld area.  Sway braces shall attach to the mast no higher than 36" above the backboard for maximum stability.

      - Auxiliary Braces:  1.90" O.D. 13-gauge steel tube braces for increased stability for attachment elevation exceeding 28'.

      - Mast Header:  5" heavy duty structural c-channel.

      - Mast Construction:  Fully welded construction in accordance with American Welding Society (AWS), D1.1 "Structural Welding Code - Steel."  Bolt-together masts are not acceptable.

      - Rear Brace:  Operates with 2-3/8" O.D. 12-gauge structure steel tube with heavy duty folding knuckle joint

      - Knuckle Joint:  Locks unit into playing position.

      - Fittings and Support Structure:  Backstop shall be supported and suspended from 3" structural I-Beams directly attached at a 3 degree slope to capped 3-1/2" O.D. 11-gauge structural steel tube with heavy duty precision formed and/or welded steel support fittings.

      - Swing Hinge Fittings:  Backstop suspended from 3-1/2" O.D. support pipe by 7/8" forged eyebolts with press fit oil-impregnated bronze bearings.  2" of adjustability provided for precise plumbing of backstop during installation.

      - Roll Fold Action:  Swing hinge fittings attached to trolleys which are securely mounted to 3" I-Beams.  Unit shall roll forward, moving hinge points forward, creating compact fold against roof structure.

      - Weight Lock:  Mast centerline offset 2" forward of swing hinge fittings to ensure backstop securely weight locks the unit into the playing position.

      - Hoist Cable:  1/4" Diameter galvanized aircraft cable with 7000 lbs ultimate break strength.  Cable disengages knuckle joint, allowing brace to fold.

      - Goals:  Mounted directly through the backboard to a direct goal mount which is secured to the 6-5/8" main mast stem.  Direct goal mount eliminates any strain on backboard should any player hang on rim.

      - Finish:  All metal parts, pipes, and fittings to be powder coated

      - Compliance:  Backstop system meets all NCAA and NFSHSA regulations and requirements.

  - J865-OSB, Single Drop, Offset Mast, Side Folding, Side Braced.

      - Type:  Singe drop, side folding, side braced with attachment up to 32'.

      - Main Mast Stem:  6-5/8" O.D. 11-gauge structural steel tube.  Mast constructed with 10 degree offset angle and 4'-10" long vertical member for board attachment.

      - Anti-Sway Braces:  2-3/8" O.D. 10-gauge structural steel tube with precision cut ends for maximum weld area.  Sway braces shall attach to the mast no higher than 36" above the backboard for maximum stability.

      - Auxiliary Braces:  1.90" O.D. 13-gauge steel tube braces for increased stability for attachment elevation exceeding 28'.

      - Mast Header:  5" heavy duty structural c-channel.

      - Mast Construction:  Fully welded construction in accordance with American Welding Society (AWS), D1.1 "Structural Welding Code - Steel."  Bolt-together masts are not acceptable.

      - Side Brace:  Operates with 2-3/8" O.D. 12-gauge structure steel tube with heavy duty folding knuckle joint.

      - Knuckle Joint:  Locks unit into playing position.

      - Fittings and Support Structure:  Backstop supported from existing structure with capped 3-1/2" O.D. 11-gauge structural steel tube with heavy duty precision formed and/or welded steel support fittings.

      - Swing Hinge Fittings:  Backstop suspended from 3-1/2" O.D. support pipe by 7/8" forged eyebolts with press fit oil-impregnated bronze bearings.  2" of adjustability provided for precise plumbing of backstop during installation.

      - Weight Lock:  Mast centerline offset 2" forward of swing hinge fittings to ensure backstop securely weight locks the unit into the playing position.

      - Hoist Cable:  1/4" Diameter galvanized aircraft cable with 7000 lbs ultimate break strength.  Cable disengages knuckle joint, allowing brace to fold.

      - Goals:  Mounted directly through the backboard to a direct goal mount which is secured to the 6-5/8" main mast stem.  Direct goal mount eliminates any strain on backboard should any player hang on rim.

      - Finish:  All metal parts, pipes, and fittings to be powder coated

      - Compliance:  Backstop system meets all NCAA and NFSHSA regulations and requirements.

- CEILING SUSPENDED BASKETBALL EQUIPMENT, 32' TO 40' ATTACHMENT

  - J817-FFRB-BT, Single Drop, Bolt Together, Forward Folding, Rear Braced.

      - Type:  Singe drop, bolt together, forward folding, rear braced with 32' to 40'  attachment.

      - Main Mast Stem:  6-5/8" O.D. 11-gauge structural steel tube with a 12" x 8" x  1/2" mounting plate fully welded to the top.  Welded construction in accordance with American Welding Society (AWS), D1.1 "Structural Welding Code - Steel."

      - Anti-Sway Braces:  2-3/8" O.D. 10-gauge structural steel tube bolted together forming a rigid double triangular structure.  Sway braces shall attach to the mast no higher than 36" above the backboard for maximum stability.

      - Auxiliary Braces:  Multiple 1.90" O.D. 13-gauge steel tube braces for increased stability.

      - Mast Header:  Mast to be supported and suspended using 3-1/2" O.D. structural steel tube.

      - Rear Brace:  Operates with 2-3/8" O.D. 12-gauge structure steel tube with vertical galvanized slide pipe attached to the main mast stem.

      - Fittings and Support Structure:  Backstop supported from existing structure with capped 3-1/2" O.D. 11-gauge structural steel tube with heavy duty precision formed and/or welded steel support fittings.

      - Swing Hinge Fittings:  Backstop suspended from 3-1/2" O.D. support pipe by 7/8" forged eyebolts with press fit oil-impregnated bronze bearings.  2" of adjustability provided for precise plumbing of backstop during installation.

      - Weight Lock:  Mast centerline offset 2" forward of swing hinge fittings to ensure backstop securely weight locks the unit into the playing position.

      - Hoist Cable:  1/4" Diameter galvanized aircraft cable with 7000 lbs ultimate break strength with cable retractor system.

      - Goals:  Mounted directly through the backboard to a direct goal mount which is secured to the 6-5/8" main mast stem.  Direct goal mount eliminates any strain on backboard should any player hang on rim.

      - Finish:  All metal parts, pipes, and fittings to be powder coated

      - Compliance:  Backstop system meets all NCAA and NFSHSA regulations and requirements.

  - J818-WB-BT, Single Drop, Bolt Together, Stationary, Wall Braced.

      - Type:  Singe drop, bolt together, stationary, wall braced with 32' to 40'  attachment.

      - Main Mast Stem:  6-5/8" O.D. 11-gauge structural steel tube with a 12" x 8" x  1/2" mounting plate fully welded to the top.  Welded construction in accordance with American Welding Society (AWS), D1.1 "Structural Welding Code - Steel."

      - Anti-Sway Braces:  2-3/8" O.D. 10-gauge structural steel tube bolted together forming a rigid double triangular structure.  Sway braces shall attach to the mast no higher than 36" above the backboard for maximum stability.

      - Auxiliary Braces:  Multiple 1.90" O.D. 13-gauge steel tube braces for increased stability.

      - Mast Header:  Mast to be supported and suspended using 3-1/2" O.D. structural steel tube.

      - Rear Brace:  Supported and fixed in playing position with 2-3/8" O.D. 12-gauge structure steel tube terminating in a hinge fittings mounted to 2" x 8" southern yellow pine wall pads.  Pads finished with two (2) coats of clear lacquer with chamfered exposed edges.

      - Fittings and Support Structure:  Backstop supported from existing structure with capped 3-1/2" O.D. 11-gauge structural steel tube with heavy duty precision formed and/or welded steel support fittings.

      - Swing Hinge Fittings:  Backstop suspended from 3-1/2" O.D. support pipe by 7/8" forged eyebolts with press fit oil-impregnated bronze bearings.  2" of adjustability provided for precise plumbing of backstop during installation.

      - Weight Lock:  Mast centerline offset 2" forward of swing hinge fittings to ensure backstop securely weight locks the unit into the playing position.

      - Goals:  Mounted directly through the backboard to a direct goal mount which is secured to the 6-5/8" main mast stem.  Direct goal mount eliminates any strain on backboard should any player hang on rim.

      - Finish:  All metal parts, pipes, and fittings to be powder coated

      - Compliance:  Backstop system meets all NCAA and NFSHSA regulations and requirements.

  - J823-BF-BT, Single Drop, Bolt Together, Rear Folding, Rear Braced.

      - Type:  Singe drop, bolt together, rear folding, rear braced with 32' to 40'  attachment.

      - Main Mast Stem:  6-5/8" O.D. 11-gauge structural steel tube with a 12" x 8" x  1/2" mounting plate fully welded to the top.  Welded construction in accordance with American Welding Society (AWS), D1.1 "Structural Welding Code - Steel."

      - Anti-Sway Braces:  2-3/8" O.D. 10-gauge structural steel tube bolted together forming a rigid double triangular structure.  Sway braces shall attach to the mast no higher than 36" above the backboard for maximum stability.

      - Auxiliary Braces:  Multiple 1.90" O.D. 13-gauge steel tube braces for increased stability.

      - Mast Header:  Mast to be supported and suspended using 3-1/2" O.D. structural steel tube.

      - Rear Brace:  Operates with 2-3/8" O.D. 12-gauge structure steel tube with heavy duty folding knuckle joint.

      - Knuckle Joint:  Locks unit into playing position.

      - Fittings and Support Structure:  Backstop supported from existing structure with capped 3-1/2" O.D. 11-gauge structural steel tube with heavy duty precision formed and/or welded steel support fittings.

      - Swing Hinge Fittings:  Backstop suspended from 3-1/2" O.D. support pipe by 7/8" forged eyebolts with press fit oil-impregnated bronze bearings.  2" of adjustability provided for precise plumbing of backstop during installation.

      - Weight Lock:  Mast centerline offset 2" forward of swing hinge fittings to ensure backstop securely weight locks the unit into the playing position.

      - Hoist Cable:  1/4" Diameter galvanized aircraft cable with 7000 lbs ultimate break strength.  Cable disengages knuckle joint, allowing brace to fold.

      - Goals:  Mounted directly through the backboard to a direct goal mount which is secured to the 6-5/8" main mast stem.  Direct goal mount eliminates any strain on backboard should any player hang on rim.

      - Finish:  All metal parts, pipes, and fittings to be powder coated

      - Compliance:  Backstop system meets all NCAA and NFSHSA regulations and requirements.

  - J826-NF-BT, Single Drop, Bolt Together, Stationary, Ceiling Braced.

      - Type:  Singe drop, bolt together, stationary, ceiling braced with 32' to 40'  attachment.

      - Main Mast Stem:  6-5/8" O.D. 11-gauge structural steel tube with a 12" x 8" x  1/2" mounting plate fully welded to the top.  Welded construction in accordance with American Welding Society (AWS), D1.1 "Structural Welding Code - Steel."

      - Anti-Sway Braces:  2-3/8" O.D. 10-gauge structural steel tube bolted together forming a rigid double triangular structure.  Sway braces shall attach to the mast no higher than 36" above the backboard for maximum stability.

      - Auxiliary Braces:  Multiple 1.90" O.D. 13-gauge steel tube braces for increased stability.

      - Mast Header:  Mast to be supported and suspended using 3-1/2" O.D. structural steel tube.

      - Brace:  Supported and fixed in playing position with 2-3/8" O.D. 12-gauge structure steel tube attached to overhead steel.  Brace can be oriented in front or rear of backstop.

      - Fittings and Support Structure:  Backstop supported from existing structure with capped 3-1/2" O.D. 11-gauge structural steel tube with heavy duty precision formed and/or welded steel support fittings.

      - Swing Hinge Fittings:  Backstop suspended from 3-1/2" O.D. support pipe by 7/8" forged eyebolts with press fit oil-impregnated bronze bearings.  2" of adjustability provided for precise plumbing of backstop during installation.

      - Weight Lock:  Mast centerline offset 2" forward of swing hinge fittings to ensure backstop securely weight locks the unit into the playing position.

      - Goals:  Mounted directly through the backboard to a direct goal mount which is secured to the 6-5/8" main mast stem.  Direct goal mount eliminates any strain on backboard should any player hang on rim.

      - Finish:  All metal parts, pipes, and fittings to be powder coated

      - Compliance:  Backstop system meets all NCAA and NFSHSA regulations and requirements.

  - J849-FFFB-BT, Single Drop, Bolt Together, Forward Folding, Front Braced.

      - Type:  Singe drop, bolt together, forward folding, front braced  with 32' to 40'  attachment.

      - Main Mast Stem:  6-5/8" O.D. 11-gauge structural steel tube with a 12" x 8" x  1/2" mounting plate fully welded to the top.  Welded construction in accordance with American Welding Society (AWS), D1.1 "Structural Welding Code - Steel."

      - Anti-Sway Braces:  2-3/8" O.D. 10-gauge structural steel tube bolted together forming a rigid double triangular structure.  Sway braces shall attach to the mast no higher than 36" above the backboard for maximum stability.

      - Auxiliary Braces:  Multiple 1.90" O.D. 13-gauge steel tube braces for increased stability.

      - Mast Header:  Mast to be supported and suspended using 3-1/2" O.D. structural steel tube.

      - Front Brace:  Operates with 2-3/8" O.D. 12-gauge structure steel tube with heavy duty folding knuckle joint.

      - Knuckle Joint:  Locks unit into playing position.

      - Fittings and Support Structure:  Backstop supported from existing structure with capped 3-1/2" O.D. 11-gauge structural steel tube with heavy duty precision formed and/or welded steel support fittings.

      - Swing Hinge Fittings:  Backstop suspended from 3-1/2" O.D. support pipe by 7/8" forged eyebolts with press fit oil-impregnated bronze bearings.  2" of adjustability provided for precise plumbing of backstop during installation.

      - Weight Lock:  Mast centerline offset 2" forward of swing hinge fittings to ensure backstop securely weight locks the unit into the playing position.

      - Hoist Cable:  1/4" Diameter galvanized aircraft cable with 7000 lbs ultimate break strength.  Cable disengages knuckle joint, allowing brace to fold.

      - Goals:  Mounted directly through the backboard to a direct goal mount which is secured to the 6-5/8" main mast stem.  Direct goal mount eliminates any strain on backboard should any player hang on rim.

      - Finish:  All metal parts, pipes, and fittings to be powder coated

      - Compliance:  Backstop system meets all NCAA and NFSHSA regulations and requirements.

  - J850-OSB-BT, Single Drop, Bolt Together, Offset Mast, Forward Folding, Front Braced.

      - Type:  Singe drop, bolt together, forward folding, front braced with 32' to 40'  attachment.

      - Main Mast Stem:  6-5/8" O.D. 11-gauge structural steel tube with a 12" x 8" x  1/2" mounting plate fully welded to the top.  Mast constructed with 20 degree offset angle and 6' long vertical member for board attachment.  Welded construction in accordance with American Welding Society (AWS), D1.1 "Structural Welding Code - Steel."

      - Anti-Sway Braces:  2-3/8" O.D. 10-gauge structural steel tube bolted together forming a rigid double triangular structure.  Sway braces shall attach to the mast no higher than 36" above the backboard for maximum stability.

      - Auxiliary Braces:  Multiple 1.90" O.D. 13-gauge steel tube braces for increased stability.

      - Mast Header:  Mast to be supported and suspended using 3-1/2" O.D. structural steel tube.

      - Front Brace:  Operates with 2-3/8" O.D. 12-gauge structure steel tube with heavy duty folding knuckle joint.

      - Knuckle Joint:  Locks unit into playing position.

      - Fittings and Support Structure:  Backstop supported from existing structure with capped 3-1/2" O.D. 11-gauge structural steel tube with heavy duty precision formed and/or welded steel support fittings.

      - Swing Hinge Fittings:  Backstop suspended from 3-1/2" O.D. support pipe by 7/8" forged eyebolts with press fit oil-impregnated bronze bearings.  2" of adjustability provided for precise plumbing of backstop during installation.

      - Weight Lock:  Mast centerline offset 2" forward of swing hinge fittings to ensure backstop securely weight locks the unit into the playing position.

      - Hoist Cable:  1/4" Diameter galvanized aircraft cable with 7000 lbs ultimate break strength.  Cable disengages knuckle joint, allowing brace to fold.

      - Goals:  Mounted directly through the backboard to a direct goal mount which is secured to the 6-5/8" main mast stem.  Direct goal mount eliminates any strain on backboard should any player hang on rim.

      - Finish:  All metal parts, pipes, and fittings to be powder coated

      - Compliance:  Backstop system meets all NCAA and NFSHSA regulations and requirements.

  - J855-SFB-BT, Single Drop, Bolt Together, Side Folding, Side Braced.

      - Type:  Singe drop, bolt together, side folding, side braced with 32' to 40'  attachment.

      - Main Mast Stem:  6-5/8" O.D. 11-gauge structural steel tube with a 12" x 8" x  1/2" mounting plate fully welded to the top.  Welded construction in accordance with American Welding Society (AWS), D1.1 "Structural Welding Code - Steel."

      - Anti-Sway Braces:  2-3/8" O.D. 10-gauge structural steel tube bolted together forming a rigid double triangular structure.  Sway braces shall attach to the mast no higher than 36" above the backboard for maximum stability.

      - Auxiliary Braces:  Multiple 1.90" O.D. 13-gauge steel tube braces for increased stability.

      - Mast Header:  Mast to be supported and suspended using 3-1/2" O.D. structural steel tube.

      - Side Brace:  Operates with 2-3/8" O.D. 12-gauge structure steel tube with heavy duty folding knuckle joint.

      - Knuckle Joint:  Locks unit into playing position.

      - Fittings and Support Structure:  Backstop supported from existing structure with capped 3-1/2" O.D. 11-gauge structural steel tube with heavy duty precision formed and/or welded steel support fittings.

      - Swing Hinge Fittings:  Backstop suspended from 3-1/2" O.D. support pipe by 7/8" forged eyebolts with press fit oil-impregnated bronze bearings.  2" of adjustability provided for precise plumbing of backstop during installation.

      - Weight Lock:  Mast centerline offset 2" forward of swing hinge fittings to ensure backstop securely weight locks the unit into the playing position.

      - Hoist Cable:  1/4" Diameter galvanized aircraft cable with 7000 lbs ultimate break strength.  Cable disengages knuckle joint, allowing brace to fold.

      - Goals:  Mounted directly through the backboard to a direct goal mount which is secured to the 6-5/8" main mast stem.  Direct goal mount eliminates any strain on backboard should any player hang on rim.

      - Finish:  All metal parts, pipes, and fittings to be powder coated

      - Compliance:  Backstop system meets all NCAA and NFSHSA regulations and requirements.

  - J865-OSB-BT, Single Drop, Bolt Together, Offset Mast, Side Folding, Side Braced.

      - Type:  Singe drop, bolt together, side folding, side braced with 32' to 40'  attachment.

      - Main Mast Stem:  6-5/8" O.D. 11-gauge structural steel tube with a 12" x 8" x  1/2" mounting plate fully welded to the top.  Mast constructed with 10 degree offset angle and 4'-10" long vertical member for board attachment.  Welded construction in accordance with American Welding Society (AWS), D1.1 "Structural Welding Code - Steel."

      - Anti-Sway Braces:  2-3/8" O.D. 10-gauge structural steel tube bolted together forming a rigid double triangular structure.  Sway braces shall attach to the mast no higher than 36" above the backboard for maximum stability.

      - Auxiliary Braces:  Multiple 1.90" O.D. 13-gauge steel tube braces for increased stability.

      - Mast Header:  Mast to be supported and suspended using 3-1/2" O.D. structural steel tube.

      - Side Brace:  Operates with 2-3/8" O.D. 12-gauge structure steel tube with heavy duty folding knuckle joint.

      - Knuckle Joint:  Locks unit into playing position.

      - Fittings and Support Structure:  Backstop supported from existing structure with capped 3-1/2" O.D. 11-gauge structural steel tube with heavy duty precision formed and/or welded steel support fittings.

      - Swing Hinge Fittings:  Backstop suspended from 3-1/2" O.D. support pipe by 7/8" forged eyebolts with press fit oil-impregnated bronze bearings.  2" of adjustability provided for precise plumbing of backstop during installation.

      - Weight Lock:  Mast centerline offset 2" forward of swing hinge fittings to ensure backstop securely weight locks the unit into the playing position.

      - Hoist Cable:  1/4" Diameter galvanized aircraft cable with 7000 lbs ultimate break strength.  Cable disengages knuckle joint, allowing brace to fold.

      - Goals:  Mounted directly through the backboard to a direct goal mount which is secured to the 6-5/8" main mast stem.  Direct goal mount eliminates any strain on backboard should any player hang on rim.

      - Finish:  All metal parts, pipes, and fittings to be powder coated

      - Compliance:  Backstop system meets all NCAA and NFSHSA regulations and requirements.

- BASKETBALL BACKSTOP WINCHES

  - TW-700M, TorkWinch Manual Winch (Up to 28' Attachment)

      - Type:  Double, self-locking worm gearing with passive uni-directional brake winch designed to hold backstop at any position during raising or lowering.

      - Frame:  Precision interlocking steel frame for high rigidity and precise alignment.

      - Hoist Cable:  1/4" 7 x 19 galvanized aircraft cable with 7,000 pounds ultimate break strength.

      - Cable Drum:  Cast aluminum grooved for 1/4" aircraft cable to facilitate smooth take-up of cable and proper spooling.  Supported in large diameter ball bearings.

      - Operation:  Manual hand crank supplied with winch.

      - Wood Wall Pads:  2" x 8" x 24" southern yellow pine with two (2) coats of clear lacquer with chamfered exposed edges.

      - Warranty:  Limited 1 year warranty.

<< << << INCLUDE THE FOLLOWING IF PORTABLE MANUAL WINCH OPERATOR IS REQUIRED >> >> >>

      - Portable Manual Winch Operator:  Heavy duty, anti-torque drive operator for manual winch with drive adapter.  Two speed, 120 volt with internal self resetting overload protection.

  - TW-2000, TorkWinch 1 HP Electric Winch

      - Type:  Fully enclosed, direct drive winch designed to hold backstop at any position during raising or lowering.  Winch is maintenance free with no oil, belts, or chains.

      - Motor:  1 HP, instantly reversing, 110 volt, single phase electric torque motor utilizing 3-wire control system.

      - Frame:  Precision interlocking steel frame for high rigidity and precise alignment.

      - Hoist Cable:  1/4" 7 x 19 galvanized aircraft cable with 7,000 pounds ultimate break strength.

      - Rope Pressure Roller:  Torsion spring tensioning roller to ensure cable tracks properly in grooves even under slack cable conditions.

      - Cable Drum:  Cast aluminum grooved for 1/4" aircraft cable to facilitate smooth take-up of cable and proper spooling.  Supported in large diameter ball bearings.

      - Limit Switches:  Integral adjustable upper and lower limit switches making the sett

      - Mounting:  Universal type mounting bracket, mounted upside down or right side up, with cable pull from any one of three different directions.

      - Controls:  Specify type of control in subsequent paragraph.

      - Warranty:  Limited 1 year warranty.

<< << << SAFETY STRAP RECOMMENDED FOR ALL BACKSTOPS, ESPECIALLY WHEN LOCATED OVER BLEACHERS >> >> >>

  - PL-1000, Posilok Safety Strap

      - Application:  For use with 1400 Fold-Up Wall Mounted Backstop and all Ceiling Suspended Folding Backstops.

      - Lock:  Inertia sensitive to automatically lock basketball backstop in position at any time during raising, lowering, or being held in the storage position.  Initiation of locking mechanism occurs when a sudden increase in either tension or speed shall occur.

      - Reset:  Fully automatic reset mechanism requiring no poles, ropes, levers, or buttons.

      - Telltale Indicator:  Breakaway loop sewn into strap containing bright colored warning label for notification when safety belt has been called into action.

      - Warranty:  Limited 1 year warranty.

- BASKETBALL BACKSTOP BACKBOARDS

  - GBRUB-42, 42" x 72" Unbreakable Rectangular Glass Backboard

      - Application:  For use with goals with 4" (vertical) x 5" (horizontal) mounting centers.  Meets all NBA, WNBA, NCAA, and NFSHSA regulations.

      - Construction:  1/2" tempered glass cushioned within shock absorbing vinyl gasket.  Frame constructed of high strength aluminum channel with engineered lower reinforced steel member.

      - Frame Perimeter:  Clear anodized anti-glare aluminum channel outer frame.

      - Goal Mount:  Designed to transfer impact load on goal directly to support structure, without imparting any stress on the glass.

      - Border and Target:  Official white color permanently fused into the face of the glass.

      - Warranty:  Limited lifetime warranty against breakage.

  - GBRUB-54, 42" x 54" Unbreakable Rectangular Glass Backboard

      - Application:  For use with goals with 4" (vertical) x 5" (horizontal) mounting centers.  Meets all NBA, WNBA, NCAA, and NFSHSA regulations.

      - Construction:  1/2" tempered glass cushioned within shock absorbing vinyl gasket.  Frame constructed of high strength aluminum channel with engineered lower reinforced steel member.

      - Frame Perimeter:  Clear anodized anti-glare aluminum channel outer frame.

      - Goal Mount:  Designed to transfer impact load on goal directly to support structure, without imparting any stress on the glass.

      - Border and Target:  Official white color permanently fused into the face of the glass.

      - Warranty:  Limited lifetime warranty against breakage.

  - GBAFR-48, 48" x 72" Rectangular Glass Backboard

      - Application:  For use with goals with 5" (vertical) x 5" (horizontal) mounting centers.  Meets all NBA, WNBA, NCAA, and NFSHSA regulations.

      - Construction:  1/2" tempered glass cushioned within shock absorbing vinyl gasket.  Frame constructed of high strength aluminum channel.

      - Frame Perimeter:  Clear anodized anti-glare aluminum channel outer frame.

      - Direct Goal Mount:  Designed to transfer impact load on goal directly to support structure, without imparting any stress on the glass when used with direct goal mount applications.

      - Border and Target:  Official white color permanently fused into the face of the glass.

      - Warranty:  Limited lifetime warranty against breakage when used with direct goal mount.

  - GCBB-35, 42" x 72" Rectangular Glass Conversion Backboard

      - Application:  Converts a fan shaped backboard into a rectangular shaped backboard.  Eliminates the need to alter backstop structure or playing court.  For use with goals with 4" (vertical) x 5" (horizontal) mounting centers.  Meets all NCAA and NFSHSA regulations.

      - Construction:  1/2" tempered glass.  Frame constructed of high strength aluminum channel.  Mounting dimensions are 20" (vertical) x 35" (horizontal).

      - Frame Perimeter:  Clear anodized anti-glare aluminum channel outer frame.

      - Border and Target:  Official white color permanently fused into the face of the glass.

      - Warranty:  Limited lifetime warranty against breakage.

  - ALB-24BT, 36" x 54" Fan Aluminum Backboard

      - Application:  For use with goals with 5" (vertical) x 5" (horizontal) mounting centers.

      - Construction:  Cast aluminum with 1-1/2" flange and extruded members on back surface for superior strength.  Mounting dimensions are standard 20" (vertical) x 35" (horizontal).  Mounted of backside of board to avoid any exposed bolt heads on front face of board.

      - Direct Goal Mount:  Designed to transfer impact load on goal directly to support structure, without imparting any stress on the backboard when used with direct goal mount applications.

      - Finish:  Backboard completely painted white with regulation orange target and border markings.

      - Warranty:  Limited lifetime warranty against breakage when used with direct goal mount.

  - RWBB-422, 42" x 72" Rectangular Wood Backboard

      - Application:  For use with any 4" (vertical) x 5" (horizontal) mounting centers.  Board to accept glue-on edge padding only.

      - Construction:  55# density laminated wood (two 3/4" pieces) with a melamine surface finish; baked resin overlay for scratch resistance and hardness.  Mounting is by carriage head through bolts located according to the requirements of the basketball backstop.

      - Goal Mount:  Factory drilled holes for goal mounting.

      - Border and Target:  Official orange epoxy boarder and target to be screened onto the face of the board.

      - Warranty:  Limited 10 year warranty,

- BASKETBALL BACKSTOP GOALS

  - GBA-642, Collegiate "Revolution" Hideaway Goal, 42" Boards

      - Application:  For use with GBRUB-42 and GBRUB-54 backboards with 5" x 4" mounting pattern.  Meets all NBA, WNBA, NCAA, and NFSHSA regulations.

      - Rim:  5/8" diameter steel rod braced by 3/16" die cut steel bracing welded to the underside of ring.

      - Net Attachment:  12 hideaway net attachments on underside of goal ring for maximum player safety.

      - Reinforced Pressure Release Mechanism:  Automatically releases rim when static force exceeding the release setting is applied to the top of the goal at point most distant from the backboard.  Reinforced heavy duty release mechanism to instantaneously release back to playing position with increased wearability.

      - Settings:  Factory pre-set to 180 lbs - 230 lbs with in-the-field adjustability to comply with NCAA recommendation rebound characteristics of non-moveable ring.

      - Cycle Testing:  GBA-642 goal cycle tested for 50,000 cycles with a breakaway force set at 230 lbs.  Goal maintained structural integrity and rebounding features while still providing the breakaway sensation throughout cycle testing and post test.  Test report furnished upon request.  Goals "not cycle tested to 50,000 cycles" not considered equal.

      - Net:  White anti-whip nylon net.

      - Finish:  Official durable orange powder coat.

      - Warranty:  Limited 7 year warranty.

  - GBA-648, Collegiate "Revolution" Hideaway Goal, 48" Boards

      - Application:  For use with GBAFR-48 backboards with 5" x 5" mounting pattern.  Meets all NBA, WNBA, NCAA, and NFSHSA regulations.

      - Rim:  5/8" diameter steel rod braced by 3/16" die cut steel bracing welded to the underside of ring.

      - Net Attachment:  12 hideaway net attachments on underside of goal ring for maximum player safety.

      - Reinforced Pressure Release Mechanism:  Automatically releases rim when static force exceeding the release setting is applied to the top of the goal at point most distant from the backboard.  Reinforced heavy duty release mechanism to instantaneously release back to playing position with increased wearability.

      - Settings:  Factory pre-set to 180 lbs - 230 lbs with in-the-field adjustability to comply with NCAA recommendation rebound characteristics of non-moveable ring.

      - Cycle Testing:  GBA-648 goal cycle tested for 50,000 cycles with a breakaway force set at 230 lbs.  Goal maintained structural integrity and rebounding features while still providing the breakaway sensation throughout cycle testing and post test.  Test report furnished upon request.  Goals "not cycle tested to 50,000 cycles" not considered equal.

      - Net:  White anti-whip nylon net.

      - Finish:  Official durable orange powder coat.

      - Warranty:  Limited 7 year warranty.

  - GBA-542, Collegiate "Shot" Pigtail Goal, 42" Boards

      - Application:  For use with GBRUB-42 and GBRUB-54 backboards with 5" x 4" mounting pattern.  Meets all NBA, WNBA, NCAA, and NFSHSA regulations.

      - Rim:  5/8" diameter steel rod braced by 3/16" die cut steel bracing welded to the underside of ring.

      - Net Attachment:  12 pigtail loop attachments on underside of goal ring.

      - Reinforced Pressure Release Mechanism:  Automatically releases rim when static force exceeding the release setting is applied to the top of the goal at point most distant from the backboard.  Reinforced heavy duty release mechanism to instantaneously release back to playing position with increased wearability.

      - Settings:  Factory pre-set to 180 lbs - 230 lbs with in-the-field adjustability to comply with NCAA recommendation rebound characteristics of non-moveable ring.

      - Cycle Testing:  GBA-542 goal cycle tested for 50,000 cycles with a breakaway force set at 230 lbs.  Goal maintained structural integrity and rebounding features while still providing the breakaway sensation throughout cycle testing and post test.  Test report furnished upon request.  Goals "not cycle tested to 50,000 cycles" not considered equal.

      - Net:  White anti-whip nylon net.

      - Finish:  Official durable orange powder coat.

      - Warranty:  Limited 7 year warranty.

  - GBA-548, Collegiate "Shot" Pigtail Goal, 48" Boards

      - Application:  For use with GBAFR-48 backboards with 5" x 4" mounting pattern.  Meets all NBA, WNBA, NCAA, and NFSHSA regulations.

      - Rim:  5/8" diameter steel rod braced by 3/16" die cut steel bracing welded to the underside of ring.

      - Net Attachment:  12 pigtail loop attachments on underside of goal ring.

      - Reinforced Pressure Release Mechanism:  Automatically releases rim when static force exceeding the release setting is applied to the top of the goal at point most distant from the backboard.  Reinforced heavy duty release mechanism to instantaneously release back to playing position with increased wearability.

      - Settings:  Factory pre-set to 180 lbs - 230 lbs with in-the-field adjustability to comply with NCAA recommendation rebound characteristics of non-moveable ring.

      - Cycle Testing:  GBA-548 goal cycle tested for 50,000 cycles with a breakaway force set at 230 lbs.  Goal maintained structural integrity and rebounding features while still providing the breakaway sensation throughout cycle testing and post test.  Test report furnished upon request.  Goals "not cycle tested to 50,000 cycles" not considered equal.

      - Net:  White anti-whip nylon net.

      - Finish:  Official durable orange powder coat.

      - Warranty:  Limited 7 year warranty.

  - GBA-18042, Competitor 180° Breakaway Goal, 42" Boards

      - Application:  For use with GBRUB-42 and GBRUB-54 backboards with 5" x 4" mounting pattern.  Meets all NBA, WNBA, NCAA, and NFSHSA regulations.

      - Rim:  5/8" diameter steel rod braced by 3/16" die cut steel bracing welded to the underside of ring.

      - Net Attachment:  12 hideaway net attachments on underside of goal ring for maximum player safety.

      - Pressure Release Mechanism:  Automatically releases rim in any direction when static force exceeding the release setting is applied to the top of the goal.  Spring loaded to instantaneously release back to playing position.

      - Settings:  Factory pre-set to 180 lbs - 230 lbs with in-the-field adjustability to comply with NCAA recommendation rebound characteristics of non-moveable ring.

      - Net:  White anti-whip nylon net.

      - Finish:  Official durable orange powder coat.

      - Warranty:  Limited 5 year warranty.

  - GBA-342A, Economy Competitor Scholastic Breakaway Goal, 42" Boards

      - Application:  Universal goal for use with backboards with 5" x 4" or 5" x 5" mounting pattern.  Meets all NBA, WNBA, NCAA, and NFSHSA regulations.

      - Rim:  5/8" diameter steel rod braced by 3/16" die cut steel bracing welded to the underside of ring.

      - Net Attachment:  12 pigtail loop attachments on underside of goal ring.

      - Pressure Release Mechanism:  Automatically releases rim when static force exceeding the release setting is applied to the top of the goal at point most distant from the backboard.  Spring loaded to instantaneously release back to playing position.

      - Settings:  Factory pre-set to 180 lbs - 230 lbs with in-the-field adjustability to comply with NCAA recommendation rebound characteristics of non-moveable ring.

      - Net:  White anti-whip nylon net.

      - Finish:  Official durable orange powder coat.

      - Warranty:  Limited 3 year warranty.

  - GBSG-50, Super Goal, Single Rim, Fixed Goal

      - Application:  Fixed goal with universal mounting plate to adapt to the majority of backboards, including those with 5" x 4" and 5" x 5" mounting pattern.

      - Rim:  5/8" diameter steel rod braced by 5/8" diameter steel rod welded to the underside of the ring.

      - Net Attachment:  12 pigtail loop attachments on underside of goal ring.

      - Net:  White anti-whip nylon net.

      - Finish:  Official durable orange powder coat.

      - Warranty:  Limited 1 year warranty.

- BASKETBALL BACKSTOP HEIGHT ADJUSTERS

  - AHA-XX, Manual Aluminum Height Adjuster

      - Type:  Mechanism for manually adjusting height of backboard and goal.

      - Adjustment Range:  Goal position from 8' to 10' above finished floor.  Height indicators located on side of aluminum frame to visually determine height settings.

      - Construction:  Lightweight, interlocking aluminum alloy extrusions with UHMW-polyethylene jib strips.  1/2" aluminum alloy plates welded to extrusions to allow universal mounting to any drop and/or bank.  Welded construction in accordance with American Welding Society (AWS), D1.2 "Structural Welding Code - Aluminum."

      - Operation:  3/4" acme thread rod secured within two bronze bushings driven by manual hand crank.  Operation of height adjuster done from the floor with supplied crank.

      - Size and Weight:  Height adjuster shall not exceed 14" in width or 55 pounds in weight.

      - Finish:  Durable black powder coat.

      - Warranty:  Limited 1 year warranty.

<< << <<  INCLUDE THE FOLLOWING IF POWER ASSIST CORDLESS DRILL FOR HEIGHT ADJUSTER OPERATION IS REQUIRED >> >> >>

      - Cordless Drill for Height Adjuster Operation:  Power assist in raising and lowering manual height adjuster.  18V HI torque driver / drill cordless design to allow ease of use without power cords.  Operation of height adjuster done from the floor.

  - EHA-XX, Electric Aluminum Height Adjuster

      - Type:  Mechanism for electrically adjusting height of backboard and goal.

      - Adjustment Range:  Goal position from 8' to 10' above finished floor.  Height indicators located on side of aluminum frame to visually determine height settings.

      - Limit Switches:  Integral limit switches automatically shut off motor when goal reaches desired 8' or 10' locations.

      - Construction:  Lightweight, interlocking aluminum alloy extrusions with UHMW-polyethylene jib strips.  1/2" aluminum alloy plates welded to extrusions to allow universal mounting to any drop and/or bank.  Welded construction in accordance with American Welding Society (AWS), D1.2 "Structural Welding Code - Aluminum."

      - Operation:  3/4" acme thread rod secured within two bronze bushings driven by 115 VAC single phase 1/6 HP electric motor.  Three-position momentary key switch and polished wall plate provided standard with height adjuster.

      - Size and Weight:  Height adjuster shall not exceed 14" in width or 90 pounds in weight.

      - Finish:  Durable black powder coat.

      - Warranty:  Limited 1 year warranty.

<< << << INCLUDE THE FOLLOWING IF POWER WAND CONTROLLER OR ALTERNATIVE METHOD OF CONTROL IS REQUIRED >> >> >>

      - Power Wand Controller (HAPW-100):  Power assist in raising and lowering electric height adjuster.  Power wand plugs directly into height adjuster motor and any 15 AMP electrical receptacle.  Operation of electric height adjuster done from the floor.

      - Controls:  Specify alternative type of group control in subsequent paragraph.

- GYM EQUIPMENT GROUP CONTROL SYSTEMS

<< << << SPECIFY ONE OF THE FOLLOWING FIVE PARAGRAPHS REGARDING THE OPERATION AND CONTROL OF WINCH / MOTOR OPERATED EQUIPMENT >> >> >>

  - KS-13, Momentary Wall Mounted Key Switch

      - Wall Mounted Key Switch:  Operate equipment with 3 position, momentary contact wall mounted key switch.

      - Momentary Switch:  Spring loaded with automatic return to OFF position.

      - Cover Plate:  Independently flush mounted stainless steel cover plate.

      - Equipment:  Key switch identical for operation of basketball backstops, gymnasium curtains, mat hoist systems, electric height adjusters, batting cages.

      - Warranty:  Limited one (1) year warranty.

  - GPWKS, Ganged Momentary Wall Mounted Key Switches

        - Ganged Wall Mounted Key Switch:  Operate equipment with 3 position, momentary contact wall mounted key switch.

        - Momentary Switch:  Spring loaded with automatic return to OFF position.

        - Cover Plate:  Gang flush mounted stainless steel cover plate.

        - Equipment:  Key switch identical for operation of basketball backstops, gymnasium curtains, mat hoist systems, electric height adjusters, batting cages.

        - Configuration:  2 - 6 components gang mounted in an efficient manner.

        - Warranty:  Limited one (1) year warranty.

  - TMX-DRX, Wireless Radio Remote Control

      - Operation:  Hand-held wireless remote operation of each electrical winch or motor.  Capable of operating basketball backstops, height adjusters, divider curtains, and batting cages.

      - Hand-Held Transmitter:  Capable of operating up to 99 individual electrical receivers with an operating range of 100 feet.  Power supply shall be standard 9V battery.  Numeric LED clearly displays selected channel.  Includes left and right, up and down buttons for easy navigation.

      - Receiver:  Each winch and/or motor shall be equipped with commercial type 100-120 VAC  with coding switch for individual operation using portable transmitter.  Non-metallic enclosure with twist lock pig tail.  Accommodates wall mounted key switch if desired.

      - Warranty:  Limited one (1) year warranty.

  - MEC-99, Master Equipment Controller

      - Operation:  Push-button control operation of electrical winches and motors, centrally located so equipment is in full view of operator.  Capable of operating 64 basketball backstops or other gymnasium equipment and 16 units of auxiliary gymnasium electrical equipment.  Equipment shall operate individually, in pairs, or groups of four.

      - Built-in Safety Feature:  Constant pressure required on pad button for operation of gymnasium equipment.

      - Security Code:  Four-digit reprogrammable security code to prevent unauthorized use.

      - Time Delay:  Touch pad shall automatically revert back to secure mode if no button is pressed within 15 seconds.

      - Mounting:  Flush mounted into standard 4" by 4" electrical box with diagonal mounting holes.

      - Desired Operation Mode:  Control of specific gymnasium equipment or auxiliary equipment selected by entering assigned component number.

      - LED Indicator:  Illuminates and notifies operator when button is suppressed.

      - Relay Panels:  Minimum of 1 relay panel, with a maximum of 8 relay panels per network.  One relay panel system shall individually control 8 motorized components and 2 auxiliary components.  Each relay panel shall contain 4 banks of eight 30-amp relays for operating 8 momentary-controlled type (up and down), 115-volt or low-voltage pieces of equipment.  Each relay panel shall be independently powered by 115-volt line power.  Each panel shall include 2 maintained 30-amp relays for auxiliary components.

      - MEC Pad shall be UL listed.  Any control system that is not UL listed shall not be considered equal.

      - Warranty:  Limited one (1) year warranty.

  - ETEC, Easy Touch Equipment Controller

<< << << SPECIFY SIZE OF TOUCHSCREEN AND PREFERRED MOUNTING BELOW.  NOTE: 6" TOUCHSCREEN ONLY AVAILABLE FOR SMALL GYMNASIUMS WITH MAXIMUM 6 BACKSTOPS AND 3 DIVIDER CURTAINS OR BATTING CAGES >> >> >>

      - Operation:  LCD touchscreen control operation of electrical winches and motors, centrally located so equipment is in full view of operator.  Capable of operating 64 basketball backstops or other gymnasium equipment and 16 units of auxiliary gymnasium electrical equipment.  Equipment shall operate individually or simultaneously.

      - Built-in Safety Feature:  Constant pressure required on touchscreen for operation of gymnasium equipment.

      - Security Code:  Two level reprogrammable security codes for administrators and users to prevent unauthorized use.

      - Time Delay:  Touchscreen shall automatically revert back to secure mode if idle for a specified time.  Administrator programs idle time.

      - Desired Operation Mode:  Operate equipment individually, in pairs, or as a multiple set, in any combination (i.e. UP and DOWN at same time).

      - Programmed Configurations:  Three user-programmed equipment configurations to recall common configurations for practice or game day.  "ALL UP" or "ALL DOWN" configurations pre-programmed standard.

      - LCD Touchscreen: <6"> <8"> <10.4"> color touchscreen, depicting actual gymnasium layout.  Protected with 1/4" thick polycarbonate vented enclosure with viewing window.  Enclosure is 16-1/4" W x 12-3/8" H x 7-5/8" D.

      - Control Panel:  Powered by 115-volt line with a maximum current draw of 2 Amps.  Each motor line will be powered by a separate 115-volt circuit with the current draw specified by the F.L.A. listed on each motor.  Current draw by any device shall not exceed 15 Amps.

      - LCD Panel:  LCD panel(s) shall each be powered by a 115-volt line with a maximum current draw of 2 Amps.

      - Mounting:  Touchscreen shall be <recess-mounted> <surface mounted>.

      - Indicators:  On screen help, instructions, and service reminders.

      - Customization:  Display school logos, mascot, or rolling advertising.

      - LED Indicator:  Illuminates and notifies operator when button is suppressed.

      - Warranty:  Limited one (1) year warranty.

<< << << SPECIFY THE FOLLOWING IF REQUIRED >> >> >>

      - Locking Access Door:  Provides additional security for unauthorized use.

      - Height Adjuster Control:  Allows presetting goal heights and multiple height adjuster operation in any direction.  Displays actual goal heights.

      - User Log (Optional):  Tracks time, date, and user ID of logins and operations for reference in case of misuse.

- BASKETBALL BACKSTOP EDGE PADDING

<< << << SPECIFY COLOR OF EDGE PADDING TO BE SUPPLIED. BOLT-ON EDGE PADDING RECOMMENDED FOR ALL BACKSTOPS FOR PLAYER SAFETY.  >> >> >>

  - MBBP-6, Safe-Pro Bolt-On Edge Padding

      - Application:  Recommended for all 72" wide glass backboards.  Pads meet all NCAA and NFSHSA rules.

      - Type:  Bolt-on, molded self-skinning urethane two-piece design.

      - Protection:  Padding shall cover entire bottom edge and extend 17-3/8" up the sides.  Padding shall not be less than 2" thick.

      - Construction:  Steel reinforced plates facilitate attachment of padding with bolts.  Interlocking steel pin connectors provided at match point between two halves to provide alignment and eliminate sagging underneath goal.

      - Color:  <Royal Blue> <Navy Blue> <Columbia Blue> <Gray> <Black> <Purple> <Light Purple> <Maroon> <Scarlet> <Cardinal> <Burnt Orange> <Orange> <Old Gold> <Yellow> <Kelly Green> <Forest Green>

      - Warranty:  Safe-Pro Bolt-On Edge Padding covered by 8 year warranty.

  - MBBP-54, Safe-Pro Bolt-On Edge Padding

      - Application:  Recommended for all 54" wide glass backboards.  Pads meet all NCAA and NFSHSA rules.

      - Type:  Bolt-on, molded self-skinning urethane two-piece design.

      - Protection:  Padding shall cover entire bottom edge and extend 17-3/8" up the sides.  Padding shall not be less than 2" thick.

      - Construction:  Steel reinforced plates facilitate attachment of padding with bolts.  Interlocking steel pin connectors provided at match point between two halves to provide alignment and eliminate sagging underneath goal.

      - Color:  <Royal Blue> <Gray> <Black> <Scarlet>

      - Warranty:  Safe-Pro Bolt-On Edge Padding covered by 8 year warranty.

  - GBB-15, 1-1/2" Glue-On Edge Padding

      - Application:  Fits any 1-1/2" thick backboard.  Pads meet all NCAA and NFSHSA rules.

      - Type:  Glue-on, molded self-skinning urethane two-piece design.

      - Protection:  Padding shall cover entire bottom edge and extend 15" up the sides.  Padding shall not be less than 2" thick.

      - Color:  Gray

      - Warranty:  Glue-On Edge Padding covered by 1 year warranty:

  - GBB-2, 2" Glue-On Edge Padding

      - Application:  Fits any 2" thick backboard.  Pads meet all NCAA and NFSHSA rules.

      - Type:  Glue-on, molded self-skinning urethane two-piece design.

      - Protection:  Padding shall cover entire bottom edge and extend 15" up the sides.  Padding shall not be less than 2" thick.

      - Color:  Gray

      - Warranty:  Glue-On Edge Padding covered by 1 year warranty

PART 3 – EXECUTION

- EXAMINATION

  - Examine areas of installation for any conditions that would affect the installation of the gymnasium equipment.  If conditions exist that prohibits or hinders installation, notify the Architect and do not proceed with the installation until conditions have been resolved.

- INSTALLATION

  - Install equipment in accordance with manufacturer’s instructions.

  - Install equipment level, straight, accurate in accordance with the supplied drawings and at the correct locations specified.

  - Install equipment with supplied hardware, fittings, and components.

  - For electrically operated equipment, install electrical power in accordance with Section 26, Electrical.

  - For electrically operated equipment, install control system such that the operation of the equipment can been seen in clear sight.

- ADJUSTING

- Adjust gymnasium equipment as needed to function properly and to ensure accurate position in both stored and in-use positions.

- For electric powered gymnasium equipment, adjust upper and lower limit switches as need to achieve desired heights.

- CLEANING

- Clean gymnasium equipment in accordance with manufacturer’s instructions.

- Do not use harsh cleaning methods or supplies that may alter the finish of the gymnasium equipment.

- Remove temporary labels and protective coverings.

- DEMONSTRATION

- Demonstrate complete operation of the gymnasium equipment to the Owner Representative.

- Furnish Owner Representative of operation procedure and required maintenance.

- Furnish Owner Representative with means necessary to operate gymnasium equipment.

- PROTECTION

- For installations of gymnasium equipment with finished floor already installed, provide means of protecting the floor to prevent damage.

END OF SECTION